# SMART HEALTHCARE MANAGEMENT SYSTEM – RISK MANAGEMENT

1. INTRODUCTION

Risk management is an important part of any project. It helps identify potential problems and provides solutions to minimize their impact.

2. IDENTIFIED RISKS

The following risks have been identified:

- System failure or technical breakdown

- Data security and privacy issues

- Network connectivity problems

- Device or sensor malfunction

- Delay in project completion

3. RISK ANALYSIS

Each risk can affect the system performance and project timeline. For example, system failure may interrupt patient monitoring, while data security issues may compromise sensitive information.

4. RISK MITIGATION STRATEGIES

To reduce the impact of risks, the following strategies will be applied:

- Implement regular system backups

- Use strong security measures such as encryption

- Ensure stable internet connection

- Perform regular testing and maintenance of devices

- Proper planning and time management

5. MONITORING AND CONTROL

Risks will be continuously monitored throughout the project. Any new risks will be identified and managed accordingly.

6. CONCLUSION

Effective risk management ensures the successful completion of the project and reliable system performance.